## Sheet1
Register Address |  | Bit 31 | Bit 30 | Bit 29 | Bit 28 | Bit 27 | Bit 26 | Bit 25 | Bit 24 | Bit 23 | Bit 22 | Bit 21 | Bit 20 | Bit 19 | Bit 18 | Bit 17 | Bit 16 | Bit 15 | Bit 14 | Bit 13 | Bit 12 | Bit 11 | Bit 10 | Bit 9 | Bit 8 | Bit 7 | Bit 6 | Bit 5 | Bit 4 | Bit 3 | Bit 2 | Bit 1 | Bit 0 | Acess | Default
0 | 0x0 | [13 empty] | Enable Acquisition | [18 empty] | r/w | 0X00000000
1 | 0x1 | [13 empty] | Power enable | [18 empty] | r/w | 0X00000000
2 | 0x2 | [13 empty] | Overcurrent | [18 empty] | ro | 0X0007FFFF
3 | 0x3 | Timeout lettura round robin | [8 empty] | Calib_ADC | Rst_multichannel | Enable PPS channel |  | Unix_Time_na | CLK_OK_flg | PPS_nr | PPS_na |  | Rst_ClkSafe | CLK_cable_1_2 | CLK_mux_ref_autman | CLK_mux_autman | CLK_mux_extint | CLK OK 1 | CLK lost 1 | CLK found 1 | CLK OK 2 | CLK lost 2 | CLK found 2 | PLL locked | RST_FIFO | HF_FIFO | r/w | 0X64000D24
4 | 0x4 | Contatore PPS | [31 empty] | ro | 0X00000000
5 | 0x5 | Unix Time from ARM | [31 empty] | r/w | 0X00000000
6 | 0x6 | [16 empty] | RunC_val_Tag0 | [15 empty] | r/w | 0X00000001
7 | 0x7 |  |  |  |  | Conteggio dati FIFO | [13 empty] | Periodo impulsatore | [13 empty] | r/w | 0X00000000
8 | 0x8 | [7 empty] | Ratemeter channel 0 | [24 empty] | ro | 0X00000000
9 | 0x9 | [7 empty] | Ratemeter channel 1 | [24 empty] | ro | 0X00000000
10 | 0xA | [7 empty] | Ratemeter channel 2 | [24 empty] | ro | 0X00000000
11 | 0xB | [7 empty] | Ratemeter channel 3 | [24 empty] | ro | 0X00000000
12 | 0xC | [7 empty] | Ratemeter channel 4 | [24 empty] | ro | 0X00000000
13 | 0xD | [7 empty] | Ratemeter channel 5 | [24 empty] | ro | 0X00000000
14 | 0xE | [7 empty] | Ratemeter channel 6 | [24 empty] | ro | 0X00000000
15 | 0xF | [7 empty] | Ratemeter channel 7 | [24 empty] | ro | 0X00000000
16 | 0x10 | [7 empty] | Ratemeter channel 8 | [24 empty] | ro | 0X00000000
17 | 0x11 | [7 empty] | Ratemeter channel 9 | [24 empty] | ro | 0X00000000
18 | 0x12 | [7 empty] | Ratemeter channel 10 | [24 empty] | ro | 0X00000000
19 | 0x13 | [7 empty] | Ratemeter channel 11 | [24 empty] | ro | 0X00000000
20 | 0x14 | [7 empty] | Ratemeter channel 12 | [24 empty] | ro | 0X00000000
21 | 0x15 | [7 empty] | Ratemeter channel 13 | [24 empty] | ro | 0X00000000
22 | 0x16 | [7 empty] | Ratemeter channel 14 | [24 empty] | ro | 0X00000000
23 | 0x17 | [7 empty] | Ratemeter channel 15 | [24 empty] | ro | 0X00000000
24 | 0x18 | [7 empty] | Ratemeter channel 16 | [24 empty] | ro | 0X00000000
25 | 0x19 | [7 empty] | Ratemeter channel 17 | [24 empty] | ro | 0X00000000
26 | 0x1A | [7 empty] | Ratemeter channel 18 | [24 empty] | ro | 0X00000000
27 | 0x1B | Dead time | [31 empty] | ro | 0XFFFFFFFF
28 | 0x1C | [8 empty] | time to peak channel 0 | [11 empty] | time to peak channel 1 | [11 empty] | r/w | 0X00013013
29 | 0x1D | [8 empty] | time to peak channel 2 | [11 empty] | time to peak channel 3 | [11 empty] | r/w | 0X00013013
30 | 0x1E | [8 empty] | time to peak channel 4 | [11 empty] | time to peak channel 5 | [11 empty] | r/w | 0X00013013
31 | 0x1F | [8 empty] | time to peak channel 6 | [11 empty] | time to peak channel 7 | [11 empty] | r/w | 0X00013013
32 | 0x20 | [8 empty] | time to peak channel 8 | [11 empty] | time to peak channel 9 | [11 empty] | r/w | 0X00013013
33 | 0x21 | [8 empty] | time to peak channel 10 | [11 empty] | time to peak channel 11 | [11 empty] | r/w | 0X00013013
34 | 0x22 | [8 empty] | time to peak channel 12 | [11 empty] | time to peak channel 13 | [11 empty] | r/w | 0X00013013
35 | 0x23 | [8 empty] | time to peak channel 14 | [11 empty] | time to peak channel 15 | [11 empty] | r/w | 0X00013013
36 | 0x24 | [8 empty] | time to peak channel 16 | [11 empty] | time to peak channel 17 | [11 empty] | r/w | 0X00013013
37 | 0x25 | [8 empty] | time to peak channel 18 | [23 empty] | r/w | 0X00013000
38 | 0x26 | TDC delay channel 0 | [7 empty] | TDC delay channel 1 | [7 empty] | TDC delay channel 2 | [7 empty] | TDC delay channel 3 | [7 empty] | r/w | 0X1E1E1E1E
39 | 0x27 | TDC delay channel 4 | [7 empty] | TDC delay channel 5 | [7 empty] | TDC delay channel 6 | [7 empty] | TDC delay channel 7 | [7 empty] | r/w | 0X1E1E1E1E
40 | 0x28 | TDC delay channel 8 | [7 empty] | TDC delay channel 9 | [7 empty] | TDC delay channel 10 | [7 empty] | TDC delay channel 11 | [7 empty] | r/w | 0X1E1E1E1E
41 | 0x29 | TDC delay channel 12 | [7 empty] | TDC delay channel 13 | [7 empty] | TDC delay channel 14 | [7 empty] | TDC delay channel 15 | [7 empty] | r/w | 0X1E1E1E1E
42 | 0x2A | TDC delay channel 16 | [7 empty] | TDC delay channel 17 | [7 empty] | TDC delay channel 18 | [15 empty] | r/w | 0X1E1E1E00